PTFE- Membrane Filters

11803--13------N

11803--25------N

11803--47------N

11803--50------N

11803-100------G

11803-142------G

11806--13------N

11806--25------N

11806--47------N

11806--50------N

11806--90------G

11806-100------G

11806-142------G

11806-293------G

11807--13------N

11807--25------N

11807--47------N

11807--50------N

11807-100------G

11807-142------G

11842--25------N

11842--47------N

11842--50------N

11842-100------G

11842-142------G

| Order-Number | 11803--13------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 1,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 1.6 L/min with bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 13 mm |
| Pore Size | 1.20 µm |
| Document | Catalog |

| Order-Number | 11803--25------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 1,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 1.6 L/min with bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 25 mm |
| Pore Size | 1.20 µm |
| Document | Catalog |

| Order-Number | 11803--47------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 1,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 1.6 L/min with bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 47 mm |
| Pore Size | 1.20 µm |
| Document | Catalog |

| Order-Number | 11803--50------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 1,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 1.6 L/min with bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 50 mm |
| Pore Size | 1.20 µm |
| Document | Catalog |

| Order-Number | 11803-100------G |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 1,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 25 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 1.6 L/min with bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 100 mm |
| Pore Size | 1.20 µm |
| Document | Catalog |

| Order-Number | 11803-142------G |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 1,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 25 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 1.6 L/min with bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 142 mm |
| Pore Size | 1.20 µm |
| Document | Catalog |

| Order-Number | 11806--13------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,45 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.3 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 13 mm |
| Pore Size | 0.45 µm |
| Document | Brochure |

| Order-Number | 11806--25------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,45 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.3 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 25 mm |
| Pore Size | 0.45 µm |
| Document | Brochure |

| Order-Number | 11806--47------N |
| --- | --- |
| Product Name | PTFE-Membrane Filter |
| Product Type | Disc Filter |
| Description | PTFE Membrane Filter, 0,45 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 47 mm |
| Pore Size | 0.45 µm |
| Document | Brochure |

| Order-Number | 11806--50------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,45 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.3 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 50 mm |
| Pore Size | 0.45 µm |
| Document | Brochure |

| Order-Number | 11806--90------G |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,45 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 25 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.3 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 90 mm |
| Pore Size | 0.45 µm |
| Document | Brochure |

| Order-Number | 11806-100------G |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,45 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 25 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.3 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 100 mm |
| Pore Size | 0.45 µm |
| Document | Brochure |

| Order-Number | 11806-142------G |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,45 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 25 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.3 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 142 mm |
| Pore Size | 0.45 µm |
| Document | Brochure |

| Order-Number | 11806-293------G |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,45 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 25 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.3 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 293 mm |
| Pore Size | 0.45 µm |
| Document | Brochure |

| Order-Number | 11807--13------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.2 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | sterile Filtration |
| Filter Material | PTFE |
| Diameter | 13 mm |
| Pore Size | 0.20 µm |
| Document | Brochure |

| Order-Number | 11807--25------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.2 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | sterile Filtration |
| Filter Material | PTFE |
| Diameter | 25 mm |
| Pore Size | 0.20 µm |
| Document | Brochure |

| Order-Number | 11807--47------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.2 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | sterile Filtration |
| Filter Material | PTFE |
| Diameter | 47 mm |
| Pore Size | 0.20 µm |
| Document | Brochure |

| Order-Number | 11807--50------N |
| --- | --- |
| Product Name | PTFE-Membrane Filter |
| Product Type | Disc Filter |
| Description | PTFE Membrane Filter, 0,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | sterile Filtration |
| Filter Material | PTFE |
| Diameter | 50 mm |
| Pore Size | 0.20 µm |
| Document | Brochure |

| Order-Number | 11807-100------G |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 25 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.2 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | sterile Filtration |
| Filter Material | PTFE |
| Diameter | 100 mm |
| Pore Size | 0.20 µm |
| Document | Brochure |

| Order-Number | 11807-142------G |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 0,2 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 25 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 0.2 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | sterile Filtration |
| Filter Material | PTFE |
| Diameter | 142 mm |
| Pore Size | 0.20 µm |
| Document | Brochure |

| Order-Number | 11842--25------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 5 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 4 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 25 mm |
| Pore Size | 5.00 µm |
| Document | Catalog |

| Order-Number | 11842--47------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 5 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 4 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 47 mm |
| Pore Size | 5.00 µm |
| Document | Catalog |

| Order-Number | 11842--50------N |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 5 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 100 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 4 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 50 mm |
| Pore Size | 5.00 µm |
| Document | Catalog |

| Order-Number | 11842-100------G |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 5 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 25 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 4 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 100 mm |
| Pore Size | 5.00 µm |
| Document | Catalog |

| Order-Number | 11842-142------G |
| --- | --- |
| Product Name | PTFE- Membrane Filter |
| Product Type | Disc Filter |
| Description | Membrane Filter of PTFE, 5 µm |
| Media | aqueous / solvent mixture, pH 1-14, For Filtration of nearly all Chemicals |
| Pack Size | 1 Package, 25 pcs. |
| Packaging | unsterile bulkware |
| max. Flow Capacity | 4 L/min with 1 bar |
| Purpose of Filtration | Filtration of Gases, Filtration of Liquids |
| Filtration Aim | Particle Retention |
| Filter Material | PTFE |
| Diameter | 142 mm |
| Pore Size | 5.00 µm |
| Document | Catalog |